## Sheet1
|  |  |  | TEST 2 |  |  |  | TEST 3 |  |  |  | TEST 4
Voltage calibration |  |  |  | Voltage |  |  |  | Voltage
Multiplier | 5 |  |  | Multiplier | 5 |  |  | Multiplier | 5
New Multiplier | 5.1291 |  |  | New Multiplier | 5.0703 |  |  | New Multiplier | 5.0128
Voltage from sensor | Voltage Power Supply | Difference | Correction Factor | Voltage Power Meter | Voltage Power Supply | Difference | Correction Factor | Voltage Power Meter | Voltage Power Supply | Difference | Correction Factor
0.43945 | 0.5 | -0.1211 | 1.1378 | 0.17567 | 0.22727 | -0.22705 | 1.2937 | 0.025 | 0.11689 | -0.78612 | 4.6756
0.92773 | 1 | -0.07227 | 1.0779 | 0.97871 | 1.0227 | -0.043042 | 1.045 | 0.6748 | 0.67662 | -0.0026898 | 1.0027
1.4404 | 1.5 | -0.039713 | 1.0414 | 1.4552 | 1.4773 | -0.01494 | 1.0152 | 1.8993 | 1.9218 | -0.011708 | 1.0118
1.9287 | 2 | -0.035645 | 1.037 | 2.1331 | 2.1591 | -0.012042 | 1.0122 | 2.774 | 2.7966 | -0.0080812 | 1.0081
2.417 | 2.5 | -0.033204 | 1.0343 | 2.5095 | 2.5273 | -0.0070234 | 1.0071 | 3.5487 | 3.5433 | 0.001524 | 0.99848
2.9053 | 3 | -0.031577 | 1.0326 | 3.0616 | 3.0682 | -0.0021381 | 1.0021 | 4.0485 | 4.0931 | -0.010896 | 1.011
3.3935 | 3.5 | -0.030414 | 1.0314 | 3.6388 | 3.6364 | 0.00067375 | 0.99933 | 4.3484 | 4.3797 | -0.0071466 | 1.0072
3.9062 | 4 | -0.023438 | 1.024 | 4.0905 | 4.0909 | -9.5333e-05 | 1.0001 | 5.0482 | 5.0714 | -0.0045747 | 1.0046
4.3945 | 4.5 | -0.023438 | 1.024 | 4.5673 | 4.5454 | 0.0048136 | 0.99521 | 5.498 | 5.5092 | -0.002033 | 1.002
4.8828 | 5 | -0.023438 | 1.024 | 5.019 | 5 | 0.003808 | 0.99621 | 6.2727 | 6.3022 | -0.0046809 | 1.0047
5.3955 | 5.5 | -0.018998 | 1.0194 | 5.5926 | 5.5682 | 0.004391 | 0.99563 | 6.7475 | 6.7635 | -0.0023656 | 1.0024
5.8838 | 6 | -0.019368 | 1.0198 | 6.073 | 6.0227 | 0.0083534 | 0.99172 | 7.3223 | 7.3296 | -0.00099596 | 1.001
6.3721 | 6.5 | -0.019682 | 1.0201 | 6.5248 | 6.4773 | 0.0073318 | 0.99272 | 7.9471 | 7.9347 | 0.0015628 | 0.99844
6.8604 | 7 | -0.01995 | 1.0204 | 6.9765 | 6.9318 | 0.0064413 | 0.9936 | 8.347 | 8.3698 | -0.0027241 | 1.0027
7.3486 | 7.5 | -0.020183 | 1.0206 | 7.6791 | 7.6136 | 0.008603 | 0.99147 | 8.9218 | 8.932 | -0.001142 | 1.0011
7.8613 | 8 | -0.017334 | 1.0176 | 8.2563 | 8.1818 | 0.0091056 | 0.99098 | 9.5965 | 9.5883 | 0.00085521 | 0.99915
8.3496 | 8.5 | -0.017693 | 1.018 | 8.6077 | 8.5227 | 0.0099651 | 0.99013 | 10.5462 | 10.5431 | 0.00029403 | 0.99971
8.8379 | 9 | -0.018012 | 1.0183 | 9.0594 | 8.9773 | 0.0091453 | 0.99094 | 11.0271 | 10.9901 | 0.0033667 | 0.99664
9.3262 | 9.5 | -0.018298 | 1.0186 | 9.5362 | 9.4318 | 0.011065 | 0.98906 | 11.5958 | 11.5712 | 0.002126 | 0.99788
9.8339 | 10 | -0.016613 | 1.0169 | 10.1134 | 10 | 0.011337 | 0.98879 | 12.2955 | 12.283 | 0.0010177 | 0.99898
|  | Average | 1.0327 |  |  | Average | 1.0141
Sensor 2
Voltage
Multiplier | 5
New Multiplier | 5.1347
Voltage Power Meter | Voltage Power Supply | Difference | Correction Factor | [6 empty] | Average | 1.0026
1.13 | 1.272 | -0.11164 | 1.1257
2.63 | 2.7819 | -0.054603 | 1.0578
5.81 | 5.9864 | -0.029467 | 1.0304
9.67 | 9.8842 | -0.021671 | 1.0222
14.1 | 14.338 | -0.016599 | 1.0169
17.77 | 18.025 | -0.014147 | 1.0144
21.32 | 21.612 | -0.013511 | 1.0137
22.82 | 23.15 | -0.014255 | 1.0145
23.81 | 24.149 | -0.014038 | 1.0142
25.14 | 25.512 | -0.014581 | 1.0148
26.69 | 27.065 | -0.013856 | 1.0141
28.13 | 28.485 | -0.012463 | 1.0126
29.23 | 29.618 | -0.0131 | 1.0133
30.16 | 30.545 | -0.012604 | 1.0128
|  | Average | 1.0269

## Sheet2
Current
Multiplier | 5
New Multiplier | 4.2131
Current Power Meter | Current Power Supply | Difference | Correction Factor
0.13864 | 0.07792 | 0.77926 | 0.56203
0.2125 | 0.15013 | 0.41544 | 0.70649
0.28637 | 0.21558 | 0.32837 | 0.7528
0.36742 | 0.29182 | 0.25906 | 0.79424
0.41894 | 0.34501 | 0.21428 | 0.82353
0.4856 | 0.41384 | 0.1734 | 0.85222
0.553 | 0.48634 | 0.13706 | 0.87946
0.65151 | 0.56684 | 0.14937 | 0.87004
0.70644 | 0.6371 | 0.10884 | 0.90185
0.79091 | 0.7184 | 0.10093 | 0.90832
0.85568 | 0.7768 | 0.10154 | 0.90782
0.92084 | 0.8436 | 0.09156 | 0.91612
0.9864 | 0.90481 | 0.090174 | 0.91729
1.0341 | 0.95636 | 0.081277 | 0.92483
1.075 | 0.9914 | 0.084325 | 0.92223
16
17
18
19
20
|  | Average | 0.84262